Topic: Sustainable Water Transmission Network Design- A Remote Sensing and Geographic Information System Approach

METHODOLOGY

ISRO MAPS AND DATA

Team Members :

Mr.Karthik Nagarajan & Dr.S.K.Ukarande

Organisation :

Pillai HOC College of Engineering and Technology , Rasayani

Contact :  8779 605 643 / 9819 420 975

Email ID : knagarajan@mes.ac.in

GIS STEPS

COMPLEXITIES

- To geo-reference the study area with toposheet in QGIS.

- To find the best possible Water Transmission    Network (WTN) route by comparing 8cases.

- To design a gravity-driven Water Distribution Network (WDN) to optimize the cost of pumping.

- To prepare 3D DEM

APPLICATION

The uniqueness of t this research is the whole work is done by

a. Free open-source GIS software (QGIS).

b. Free open-source hydraulic software (EPANET).

c. Free satellite data (ISRO’s Bhuvan portal).

d. Free mobile application platform (Open Data Kit-ODK).

RESULT